## Sheet1
Submitted By:
Pratyush Jaiswal
18EE35014
Question 3
Appliance | Rating(W) | Number | Total Watts | Avg use in day(hr) | Energy in day(W-hr) | Energy in month(W-hr) | Number of Units for month(kWh)
Ceiling fan | 70 | 4 | 280 | 0.5 | 140 | 4200 | 4.2
Electric Iron | 1000 | 1 | 1000 | 0.2 | 200 | 6000 | 6
Electric Kettle | 1200 | 1 | 1200 | 0.06 | 72 | 2160 | 2.16
Electric water pump | 1100 | 1 | 1100 | 0.15 | 165 | 4950 | 4.95
Exhaust fan | 30 | 1 | 30 | 1 | 30 | 900 | 0.9
Laptop Charger | 45 | 1 | 45 | 0.5 | 22.5 | 675 | 0.675
LED Bulbs | 25 | 4 | 100 | 5 | 500 | 15000 | 15
Oven | 1150 | 1 | 1150 | 0.2 | 230 | 6900 | 6.9
Miscellaneous | 50 | 1 | 50 | 0.2 | 10 | 300 | 0.3
Mixer | 500 | 1 | 500 | 0.2 | 100 | 3000 | 3
Mobile charger | 10 | 2 | 20 | 1 | 20 | 600 | 0.6
Refrigerator | 100 | 1 | 100 | 20 | 2000 | 60000 | 60
Tubelight | 20 | 5 | 100 | 5 | 500 | 15000 | 15
TV | 150 | 1 | 150 | 2 | 300 | 9000 | 9
Washing machine | 500 | 1 | 500 | 0.5 | 250 | 7500 | 7.5
Water purifier | 60 | 1 | 60 | 0.4 | 24 | 720 | 0.72
Total |  |  | 6385 |  | 4563.5 | 136905 | 136.905
Question 4
Bill Splitting | (in Rs.)
Energy cost | 866.4897
Fixed charge | 40
Total | 906.4897
Question 5
Calculating energy for solar panels
Load(kWh/day) | Inverter loss (from Load Side) | Input to inverter | Battery loss | Input to battery | Inverter loss (from Panel Side) | Input to inverter battery system | Panel loss | Energy from panels | Power Aggregated from Panels | Number of Panels Required
4.5635 | 0.9127 | 5.4762 | 0.82143 | 6.2976 | 0.18893 | 6.4866 | 1.6216 | 8.1082 | 1.6216 | 5
Calculating System Cost
Component | Total wattage(kW) | Cost(Rs)
Solar panel | 1.6216 | 32432.7945
Inverter | 8 | 80000
Batteries | 12.6 | 52500
Total |  | 164932.7945
Payback period in years | 15.1622